#303 – Natural and Liquefied Gas Leaks

Date Issued: 06/16/2006

Date Last Revised: 06/16/2006

Purpose:  To outline the guidelines for handling natural and liquefied gas leaks.

Guideline:

Information

A.	As much information as possible should be obtained from the person reporting the leak; information such as the type of product, amount or size of  the container, how long it has been leaking, are there any known ignition sources in the vicinity

B.	Size-up (gathering of information) should start as soon as the alarm is received and continue while responding to determine the extent and details of the leak.

- Once size-up has been completed, apparatus should be staged so that only the minimum amount of equipment and personnel become exposed to the potential of an explosion.

- Ensure Polk County Dispatch has requested the proper assistance from the appropriate utilities (Mid American Energy)

Operational Procedures

A.	If the strategy is to enter the affected area or structure, a briefing of personnel should occur with the pertinent details covered such as the type of gas, source of leak, ventilation in place, use of SCBA.

- The tactics should involve the minimum number (at least 2) personnel needed to accomplish them and all remaining personnel shall be staged in a safe and secure area.  All operations that can be completed outside of the structure should be done outside.  Every reported gas leak must be treated seriously and the risk to the firefighters managed as safely as possible.

Use of Equipment

A.	SCBA must be worn in contaminated or suspected areas of gas vapors.  Should there be a leak, it is possible that the gas may displace the air in the area such as a basement and the area would be oxygen deficient and you could suffocate.  Should an explosion occur, you will need to not only survive the explosion effect, but also the burning gases.  While fire may only be a momentary flash, should you be inhaling a breath at that moment you could severely damage your respiratory system.

General Considerations

A.	Characteristics of gases

1.	Natural gas (methane) is colorless, treated with an odor detector, lighter than air -- rises and may be more predominant in the upper levels of a structure.

2.	LP gas (propane or butane) is colorless, treated with an odor detector, heavier than air -- settles and may be more predominant in the lower levels of a structure.  Caution if the structure has strong air currents.  As an example, up open stairways or stud channels as may happen in a wood frame balloon constructed building the vapors may also be found in the upper levels as well as the lower.

#303 – Natural and Liquefied Gas Leaks

Date Issued: 06/16/2006

Date Last Revised: 06/16/2006

B.	Ignition sources

1.	While it is impossible to identify every potential ignition source, some of the more common ones to be considered are as follows:

a.	Pilot lights of appliances

b.	Motors that may start

c.	Arcing from electrical switches opening or closing -- could be as small as a flashlight to as large as a knife switch on an electrical cut off.

- Static electricity arc

While it is impossible to outline every possible problem that may be encountered or anticipated dealing with gas leaks or solutions to resolve them, they should be treated with the utmost care.  Personnel exposed to the consequences of an explosion should be limited to only the number required to perform the tactical assignment.

It is essential that a good size up be done, the real problems identified, a sound strategy developed and tactical assignments made to support the strategy.

# Text boxes

303a

303b